Layer Overview

| Magnification | As Sprayed | HIP 850 | HIP 1200 |
| --- | --- | --- | --- |
| 250X Description: Overview of Coating As Sprayed 250X has issue regarding lack of top layer. To be redone using Samples 3 & 4 | - |  | TBD |
| 500X Description: Overview of Coating As Sprayed 500X has issue regarding lack of top layer. To be redone using Samples 3 & 4 |  |  | TBD |
| 1000X - HIP850 coating is not visible at 1000X, and is barely visible at 500X. Would recommend 250X for all |  |  |  |