| School/Institute/Directorate: | Location: | Supervisor | Date: | Review Date: |
| --- | --- | --- | --- | --- |
| EPS | Energy Lab, Dubai | Dr Rehan Ahmed | 2023-09-11 | Whenever there is a change in SOP and risk involved. Last update: 2023-09-11 |

| Risk Assessment Title: Impingement Rig | Ref No: 2023-2024 |
| --- | --- |

| Risk Rating Matrix (RR) | Likelihood(L) |  |  |
| --- | --- | --- | --- |
| Severity (S) | Certain or near certain to occur (High) | Reasonably likely to occur (Medium) | Unlikely to Occur (Low) |
| Fatality, major injury or illness causing long term disability (High) | HIGH(H) | HIGH(H) | MEDIUM(M) |
| Injury or illness causing short term disability (Medium) | HIGH(H) | MEDIUM(M) | LOW(L) |
| Other Injury or Illness (Low) | MEDIUM(M) | LOW(L) | LOW(L) |

Description:

Background The slurry impingement rig is used to simulate the effect of the wear & tear experienced by machines in industrial cases. In this procedure, three phase electrical power is used to power the pump, VFD, and control panel while nearby monitoring equipment are supplied with standard single-phase electrical power. Personal Protective Equipment (PPE) Wear gloves and lab coat. Safety shoes must be worn while using the machine. Procedural Controls Users should be trained and supervised until fully competent. Avoid accessing the rear of control panels. Low stocks of consumable items (gloves, paper towels, etc) should be reported to Supervisor or Lab Manager.

| What are the Hazards? | Who might be harmed? | Uncontrolled Risk Rating | Control measures (What are you already doing?) | Controlled Risk Rating | Responsible Person(s) |
| --- | --- | --- | --- | --- | --- |
| Slips and Falls | Equipment User Lab User | Medium | Users are trained and supervised until fully competent. Space around machine is to be maintained to avoid loose cables and potential slip hazards. Controlled Risk rating is maintained as only frequency is reduced. | Low | Equipment User Supervisor |
| Electric Shock | Equipment User Lab User | High | Use of waterproof electrical socket for electrical connection. Avoid touch of electrical source and connections using wet hands. Keep hands dry whenever touch the electrical source. Switch off the ultrasonic probe when not in use. Check PAT testing is up to date. | Low | Equipment User |
| Contact with seawater | Equipment User | Low | Avoid contact with water. If clothes and lab coats come into contact, remove wet clothing until dry and washed. Wash hands if seawater comes into contact with hands. | Low | Equipment User |

Additional Work Practice Information: If Lab Users are sensitive to noise or poor quality air, avoid use of equipment. Ensure that compressed air supply is available when using equipment. Facilities Management and Housekeeping usually do not touch equipment. Keep space around cavitation equipment clean to avoid interference. Avoid use of grinder-polisher when classes occur in the lab. Avoiding noise disturbance is a courtesy worth extending to other lab users.

| Name |  | Position | Email | Signature |
| --- | --- | --- | --- | --- |
| Author | Vishakh Pradeep Kumar | MSc Student; Research Assistant | v.kumar@hw.ac.uk | Vishakh Pradeep Kumar |
| Authoriser | Dr Rehan Ahmed | Supervisor | r.ahmed@hw.ac.uk |  |
| Verifier |  |  |  |  |

Declaration

I confirm that I have read the Risk Assessment, I understand the hazards, and risks involved and will follow all the control measures stated. If I have any queries or concerns, I will contact the above.

| Name | Organisation | Staff/Student/Visitor | Signature | Date |
| --- | --- | --- | --- | --- |
| Vishakh Pradeep Kumar | EPS | Student | Vishakh Pradeep Kumar | 2023-09-11 |