| School/Institute/Directorate: | Location: | Supervisor | Date: | Review Date: |
| --- | --- | --- | --- | --- |
| EPS | Energy Lab, Dubai | Dr Rehan Ahmed | 2023-09-11 | Whenever there is a change in SOP and risk involved. Last update: 2023-09-11 |

| Risk Assessment Title: BLR equipment | Ref No: 2023-2024 |
| --- | --- |

| Risk Rating Matrix (RR) | Likelihood(L) |  |  |
| --- | --- | --- | --- |
| Severity (S) | Certain or near certain to occur (High) | Reasonably likely to occur (Medium) | Unlikely to Occur (Low) |
| Fatality, major injury or illness causing long term disability (High) | HIGH(H) | HIGH(H) | MEDIUM(M) |
| Injury or illness causing short term disability (Medium) | HIGH(H) | MEDIUM(M) | LOW(L) |
| Other Injury or Illness (Low) | MEDIUM(M) | LOW(L) | LOW(L) |

Description:

Background: In order to simulate the effects of friction wear in industrial use cases, metallographic samples are subjected to “ball-on-flat” and “pin-on-disk” tests, using ASTM G133 & G99 test procedures. In this procedure, the BLR machine is supplied with electrical supply. Electrical power is used to power the motor and interface while a nearby computer is used to record data. The workpiece holder reciprocates thanks to a crank slider mechanism connected to a motor. Personal Protective Equipment (PPE) Wear gloves and lab coat while using BLR equipment. Enclosed shoes are preferred while operating the machine. Machine cannot be used without safety guard, users should be trained to avoid bypassing electrical safeguards. Procedural Controls Users should operate the equipment in accordance with training to avoid damage to the instrument. Avoid accessing the rear of instrument. Low stocks of consumable items (gloves, paper towels, etc) should be reported to Supervisor or Lab Manager.

| What are the Hazards? | Who might be harmed? | Uncontrolled Risk Rating | Control measures (What are you already doing?) | Controlled Risk Rating | Responsible Person(s) |
| --- | --- | --- | --- | --- | --- |
| Rotating mechanisms | Equipment User Lab User | High | Users are trained and supervised until fully competent. Users are trained to not access mechanical parts of the grinder-polisher while running. Sample holder and platen have grooves cut into them for easier removal of consumables from equipment. | Medium | Equipment User Supervisor |
| Electric Shock | Equipment User Lab User | Medium | Use of waterproof electrical socket for electrical connection. Avoid touch of electrical source and connections using wet hands. Keep hands dry whenever touch the electrical source. Switch off the ultrasonic probe when not in use. Check PAT testing is up to date. | Low | Equipment User |
| Hand, Hair, or Clothing entanglement | Equipment User Lab User | Medium | Long hair and loose clothing should be secured to avoid contact with moving parts. Users must wear lab coat with folded sleeves, as well as nitrile gloves. Jewellery (eg. rings) should be removed. | Low | Equipment User Supervisor |

Additional Work Practice Information: If Lab Users are sensitive to noise or poor quality air, avoid use of equipment. Ensure that compressed air supply is available when using equipment. Facilities Management and Housekeeping usually do not touch equipment. Keep space around cavitation equipment clean to avoid interference. Avoid use of grinder-polisher when classes occur in the lab. Avoiding noise disturbance is a courtesy worth extending to other lab users.

| Name |  | Position | Email | Signature |
| --- | --- | --- | --- | --- |
| Author | Vishakh Pradeep Kumar | MSc Student; Research Assistant | v.kumar@hw.ac.uk | Vishakh Pradeep Kumar |
| Authoriser | Dr Rehan Ahmed | Supervisor | r.ahmed@hw.ac.uk |  |
| Verifier |  |  |  |  |

Declaration

I confirm that I have read the Risk Assessment, I understand the hazards, and risks involved and will follow all the control measures stated. If I have any queries or concerns, I will contact the above.

| Name | Organisation | Staff/Student/Visitor | Signature | Date |
| --- | --- | --- | --- | --- |
| Vishakh Pradeep Kumar | EPS | Student | Vishakh Pradeep Kumar | 2023-09-11 |